## Summary
AfriRemoteLabs Phase 1 budget review
USD. Draft for scrutiny; estimate basis 9 October 2026 (America/Chicago).
Station | Itemized total USD | Earlier allowance USD | Difference USD
Mechanics | 19000 | 19000 | 0
Thermal | 11000 | 11000 | 0
Optical | 23500 | 23500 | 0
AFM | 119000 | 119000 | 0
STM | 67000 | 67000 | 0
UV-Vis | 32000 | 32000 | 0
FTIR-Raman | 128000 | 128000 | 0
Titration | 44500 | 44500 | 0
Digital imaging | 27000 | 27000 | 0
Bio assays | 51000 | 51000 | 0
SEM | 304000 | 304000 | 0
TEM | 751000 | 751000 | 0
Sensors-DAQ | 21000 | 21000 | 0
Station subtotal | 1598000
Shared capital | 145000
Base capital | 1743000
Contingency rate | 15%
Capital contingency | 261450
Capital including contingency | 2004450
One full operating year | 210000
Capital plus one operating year | 2214450

## Itemized capital
Itemized capital budget (USD)
Draft for scrutiny. Unit costs are provisional allocations of the earlier allowances.
Station | Category | Item / service | Quantity | Unit cost USD | Extended cost USD | Cost basis | Review note | Reviewer comments
Mechanics | Equipment | Dynamics track and carts | 1 | 2200 | 2200 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Motion detectors | 2 | 300 | 600 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Force sensors | 2 | 250 | 500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Wireless acceleration sensors | 2 | 200 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Photogates and timers | 2 | 200 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Springs, masses and friction apparatus | 1 | 600 | 600 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | DAQ and wireless interfaces | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Guarded actuator and local stop | 1 | 1300 | 1300 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Equipment | Mounts and experiment fixtures | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Mechanics | Computing | Host workstation CPU/RAM/SSD | 1 | 1500 | 1500 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Mechanics | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1000 | 1000 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Mechanics | Software | Acquisition/control licence allocation | 1 | 1500 | 1500 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Mechanics | Software | Analysis/SDK/support allocation | 1 | 1000 | 1000 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Mechanics | Integration | Station gateway computer/interface | 1 | 800 | 800 | Provisional allocation | Separate from shared server; may be consolidated after design
Mechanics | Integration | Demonstration camera and mounting | 1 | 600 | 600 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Mechanics | Integration | Driver/API development (engineering hours) | 36 | 50 | 1800 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Mechanics | Integration | Station testing and recovery validation | 1 | 800 | 800 | Provisional allocation | Station-specific tests; shared platform budget is separate
Mechanics | Commissioning | Installation and acceptance allowance | 1 | 1000 | 1000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Mechanics | Commissioning | Operator training allowance | 1 | 600 | 600 | Provisional allocation | Initial training; recurring staffing budgeted separately
Mechanics | Commissioning | Initial method validation/calibration allowance | 1 | 400 | 400 | Provisional allocation | Deduct service included with instrument
Thermal | Equipment | Temperature probes | 4 | 100 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Equipment | Temperature DAQ/logger | 1 | 900 | 900 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Equipment | Calorimetry and heating apparatus | 1 | 800 | 800 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Equipment | Independent temperature cutoff | 1 | 400 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Equipment | Approved heater controller | 1 | 600 | 600 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Equipment | Fixtures and insulated vessels | 1 | 400 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Thermal | Computing | Host workstation CPU/RAM/SSD | 1 | 1200 | 1200 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Thermal | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 800 | 800 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Thermal | Software | Acquisition/control licence allocation | 1 | 900 | 900 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Thermal | Software | Analysis/SDK/support allocation | 1 | 600 | 600 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Thermal | Integration | Station gateway computer/interface | 1 | 500 | 500 | Provisional allocation | Separate from shared server; may be consolidated after design
Thermal | Integration | Demonstration camera and mounting | 1 | 375 | 375 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Thermal | Integration | Driver/API development (engineering hours) | 23 | 50 | 1150 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Thermal | Integration | Station testing and recovery validation | 1 | 475 | 475 | Provisional allocation | Station-specific tests; shared platform budget is separate
Thermal | Commissioning | Installation and acceptance allowance | 1 | 750 | 750 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Thermal | Commissioning | Operator training allowance | 1 | 450 | 450 | Provisional allocation | Initial training; recurring staffing budgeted separately
Thermal | Commissioning | Initial method validation/calibration allowance | 1 | 300 | 300 | Provisional allocation | Deduct service included with instrument
Optical | Equipment | Optical bench and alignment mounts | 1 | 3000 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Equipment | Light sources and holders | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Equipment | Optical sensors and meters | 2 | 1000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Equipment | Motorized stage/filter assembly | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Equipment | Optical sensor DAQ | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Equipment | Filters, lenses and reference samples | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Optical | Computing | Host workstation CPU/RAM/SSD | 1 | 1800 | 1800 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Optical | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1200 | 1200 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Optical | Software | Acquisition/control licence allocation | 1 | 1200 | 1200 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Optical | Software | Analysis/SDK/support allocation | 1 | 800 | 800 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Optical | Integration | Station gateway computer/interface | 1 | 800 | 800 | Provisional allocation | Separate from shared server; may be consolidated after design
Optical | Integration | Demonstration camera and mounting | 1 | 600 | 600 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Optical | Integration | Driver/API development (engineering hours) | 36 | 50 | 1800 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Optical | Integration | Station testing and recovery validation | 1 | 800 | 800 | Provisional allocation | Station-specific tests; shared platform budget is separate
Optical | Commissioning | Installation and acceptance allowance | 1 | 1250 | 1250 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Optical | Commissioning | Operator training allowance | 1 | 750 | 750 | Provisional allocation | Initial training; recurring staffing budgeted separately
Optical | Commissioning | Initial method validation/calibration allowance | 1 | 500 | 500 | Provisional allocation | Deduct service included with instrument
AFM | Equipment | AFM including native scanner controller | 1 | 78000 | 78000 | Provisional allocation | Confirm configuration and obtain supplier quotation
AFM | Equipment | Vibration isolation allowance | 1 | 5000 | 5000 | Provisional allocation | Confirm configuration and obtain supplier quotation
AFM | Equipment | Probe starter stock | 20 | 150 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
AFM | Equipment | Reference specimens and calibration standards | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
AFM | Equipment | Sample mounts and preparation kit | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
AFM | Computing | Host workstation CPU/RAM/SSD | 1 | 3000 | 3000 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
AFM | Computing | GPU allowance | 1 | 1000 | 1000 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
AFM | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1000 | 1000 | Provisional allocation | Native acquisition electronics are budgeted with instrument
AFM | Software | Acquisition/control licence allocation | 1 | 3600 | 3600 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
AFM | Software | Analysis/SDK/support allocation | 1 | 2400 | 2400 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
AFM | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
AFM | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
AFM | Integration | Driver/API development (engineering hours) | 118 | 50 | 5900 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
AFM | Integration | Station testing and recovery validation | 1 | 2500 | 2500 | Provisional allocation | Station-specific tests; shared platform budget is separate
AFM | Commissioning | Installation and acceptance allowance | 1 | 4000 | 4000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
AFM | Commissioning | Operator training allowance | 1 | 2400 | 2400 | Provisional allocation | Initial training; recurring staffing budgeted separately
AFM | Commissioning | Initial method validation/calibration allowance | 1 | 1600 | 1600 | Provisional allocation | Deduct service included with instrument
STM | Equipment | STM including low-noise native controller | 1 | 35000 | 35000 | Provisional allocation | Confirm configuration and obtain supplier quotation
STM | Equipment | Vibration/acoustic isolation allowance | 1 | 5000 | 5000 | Provisional allocation | Confirm configuration and obtain supplier quotation
STM | Equipment | Conductive reference samples | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
STM | Equipment | Tip stock and preparation tools | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
STM | Equipment | Sample holders and mounts | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
STM | Computing | Host workstation CPU/RAM/SSD | 1 | 2400 | 2400 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
STM | Computing | GPU allowance | 1 | 800 | 800 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
STM | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 800 | 800 | Provisional allocation | Native acquisition electronics are budgeted with instrument
STM | Software | Acquisition/control licence allocation | 1 | 2400 | 2400 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
STM | Software | Analysis/SDK/support allocation | 1 | 1600 | 1600 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
STM | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
STM | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
STM | Integration | Driver/API development (engineering hours) | 90 | 50 | 4500 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
STM | Integration | Station testing and recovery validation | 1 | 1900 | 1900 | Provisional allocation | Station-specific tests; shared platform budget is separate
STM | Commissioning | Installation and acceptance allowance | 1 | 3000 | 3000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
STM | Commissioning | Operator training allowance | 1 | 1800 | 1800 | Provisional allocation | Initial training; recurring staffing budgeted separately
STM | Commissioning | Initial method validation/calibration allowance | 1 | 1200 | 1200 | Provisional allocation | Deduct service included with instrument
UV-Vis | Equipment | Programmable UV-Vis with native acquisition | 1 | 13500 | 13500 | Provisional allocation | Confirm configuration and obtain supplier quotation
UV-Vis | Equipment | Quartz cells | 10 | 150 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
UV-Vis | Equipment | Automated sample accessory allowance | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
UV-Vis | Equipment | Standards, holders and sampling accessories | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
UV-Vis | Computing | Host workstation CPU/RAM/SSD | 1 | 1800 | 1800 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
UV-Vis | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1200 | 1200 | Provisional allocation | Native acquisition electronics are budgeted with instrument
UV-Vis | Software | Acquisition/control licence allocation | 1 | 1800 | 1800 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
UV-Vis | Software | Analysis/SDK/support allocation | 1 | 1200 | 1200 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
UV-Vis | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
UV-Vis | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
UV-Vis | Integration | Driver/API development (engineering hours) | 48 | 50 | 2400 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
UV-Vis | Integration | Station testing and recovery validation | 1 | 1000 | 1000 | Provisional allocation | Station-specific tests; shared platform budget is separate
UV-Vis | Commissioning | Installation and acceptance allowance | 1 | 1500 | 1500 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
UV-Vis | Commissioning | Operator training allowance | 1 | 900 | 900 | Provisional allocation | Initial training; recurring staffing budgeted separately
UV-Vis | Commissioning | Initial method validation/calibration allowance | 1 | 600 | 600 | Provisional allocation | Deduct service included with instrument
FTIR-Raman | Equipment | FTIR with native acquisition | 1 | 30000 | 30000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | ATR sampling accessory | 1 | 5000 | 5000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | Raman with native detector/controller | 1 | 45000 | 45000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | Raman enclosure and laser safeguards | 1 | 8000 | 8000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | Reference standards | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | Sample holders and preparation tools | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Equipment | Mapping-stage allowance | 1 | 3000 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
FTIR-Raman | Computing | Host workstation CPU/RAM/SSD | 1 | 3000 | 3000 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
FTIR-Raman | Computing | GPU allowance | 1 | 1000 | 1000 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
FTIR-Raman | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1000 | 1000 | Provisional allocation | Native acquisition electronics are budgeted with instrument
FTIR-Raman | Software | Acquisition/control licence allocation | 1 | 4800 | 4800 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
FTIR-Raman | Software | Analysis/SDK/support allocation | 1 | 3200 | 3200 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
FTIR-Raman | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
FTIR-Raman | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
FTIR-Raman | Integration | Driver/API development (engineering hours) | 146 | 50 | 7300 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
FTIR-Raman | Integration | Station testing and recovery validation | 1 | 3100 | 3100 | Provisional allocation | Station-specific tests; shared platform budget is separate
FTIR-Raman | Commissioning | Installation and acceptance allowance | 1 | 4000 | 4000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
FTIR-Raman | Commissioning | Operator training allowance | 1 | 2400 | 2400 | Provisional allocation | Initial training; recurring staffing budgeted separately
FTIR-Raman | Commissioning | Initial method validation/calibration allowance | 1 | 1600 | 1600 | Provisional allocation | Deduct service included with instrument
Titration | Equipment | Automated titrator and native controller | 1 | 15000 | 15000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Equipment | Sample changer | 1 | 7000 | 7000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Equipment | Dosing/burette assemblies | 2 | 1500 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Equipment | pH/conductivity probes | 2 | 1000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Equipment | Reagent/waste containment | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Equipment | Reference buffers and accessories | 1 | 2000 | 2000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Titration | Computing | Host workstation CPU/RAM/SSD | 1 | 1500 | 1500 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Titration | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1000 | 1000 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Titration | Software | Acquisition/control licence allocation | 1 | 1800 | 1800 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Titration | Software | Analysis/SDK/support allocation | 1 | 1200 | 1200 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Titration | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
Titration | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Titration | Integration | Driver/API development (engineering hours) | 48 | 50 | 2400 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Titration | Integration | Station testing and recovery validation | 1 | 1000 | 1000 | Provisional allocation | Station-specific tests; shared platform budget is separate
Titration | Commissioning | Installation and acceptance allowance | 1 | 2000 | 2000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Titration | Commissioning | Operator training allowance | 1 | 1200 | 1200 | Provisional allocation | Initial training; recurring staffing budgeted separately
Titration | Commissioning | Initial method validation/calibration allowance | 1 | 800 | 800 | Provisional allocation | Deduct service included with instrument
Digital imaging | Equipment | Digital microscope optical system | 1 | 6000 | 6000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Equipment | Microscope camera | 1 | 2500 | 2500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Equipment | Motorized stage/focus controller | 1 | 3000 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Equipment | Calibration slide | 1 | 500 | 500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Equipment | Illumination accessories | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Equipment | Prepared specimens and mounts | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Digital imaging | Computing | Host workstation CPU/RAM/SSD | 1 | 2400 | 2400 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Digital imaging | Computing | GPU allowance | 1 | 800 | 800 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
Digital imaging | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 800 | 800 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Digital imaging | Software | Acquisition/control licence allocation | 1 | 1500 | 1500 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Digital imaging | Software | Analysis/SDK/support allocation | 1 | 1000 | 1000 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Digital imaging | Integration | Station gateway computer/interface | 1 | 800 | 800 | Provisional allocation | Separate from shared server; may be consolidated after design
Digital imaging | Integration | Demonstration camera and mounting | 1 | 600 | 600 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Digital imaging | Integration | Driver/API development (engineering hours) | 36 | 50 | 1800 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Digital imaging | Integration | Station testing and recovery validation | 1 | 800 | 800 | Provisional allocation | Station-specific tests; shared platform budget is separate
Digital imaging | Commissioning | Installation and acceptance allowance | 1 | 1250 | 1250 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Digital imaging | Commissioning | Operator training allowance | 1 | 750 | 750 | Provisional allocation | Initial training; recurring staffing budgeted separately
Digital imaging | Commissioning | Initial method validation/calibration allowance | 1 | 500 | 500 | Provisional allocation | Deduct service included with instrument
Bio assays | Equipment | Multimode reader with native controller | 1 | 25000 | 25000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Temperature-controlled incubation | 1 | 3500 | 3500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Precision pipette set | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Plate and reagent starter stock | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Temperature probes/logger | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Sample-preparation bench equipment | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Equipment | Small ancillary assay equipment | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Bio assays | Computing | Host workstation CPU/RAM/SSD | 1 | 1800 | 1800 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Bio assays | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1200 | 1200 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Bio assays | Software | Acquisition/control licence allocation | 1 | 2400 | 2400 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Bio assays | Software | Analysis/SDK/support allocation | 1 | 1600 | 1600 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Bio assays | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
Bio assays | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Bio assays | Integration | Driver/API development (engineering hours) | 48 | 50 | 2400 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Bio assays | Integration | Station testing and recovery validation | 1 | 1000 | 1000 | Provisional allocation | Station-specific tests; shared platform budget is separate
Bio assays | Commissioning | Installation and acceptance allowance | 1 | 2000 | 2000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Bio assays | Commissioning | Operator training allowance | 1 | 1200 | 1200 | Provisional allocation | Initial training; recurring staffing budgeted separately
Bio assays | Commissioning | Initial method validation/calibration allowance | 1 | 800 | 800 | Provisional allocation | Deduct service included with instrument
SEM | Equipment | SEM with native imaging/detector controllers | 1 | 210000 | 210000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Equipment | Specimen coating equipment allowance | 1 | 12000 | 12000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Equipment | Preparation tools | 1 | 10000 | 10000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Equipment | Stubs, standards and starter supplies | 1 | 3000 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Equipment | Vacuum/chiller accessories allowance | 1 | 10000 | 10000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Equipment | Sample fixtures | 1 | 5000 | 5000 | Provisional allocation | Confirm configuration and obtain supplier quotation
SEM | Computing | Host workstation CPU/RAM/SSD | 1 | 3600 | 3600 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
SEM | Computing | GPU allowance | 1 | 1200 | 1200 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
SEM | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1200 | 1200 | Provisional allocation | Native acquisition electronics are budgeted with instrument
SEM | Software | Acquisition/control licence allocation | 1 | 6000 | 6000 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
SEM | Software | Analysis/SDK/support allocation | 1 | 4000 | 4000 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
SEM | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
SEM | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
SEM | Integration | Driver/API development (engineering hours) | 258 | 50 | 12900 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
SEM | Integration | Station testing and recovery validation | 1 | 5500 | 5500 | Provisional allocation | Station-specific tests; shared platform budget is separate
SEM | Commissioning | Installation and acceptance allowance | 1 | 9000 | 9000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
SEM | Commissioning | Operator training allowance | 1 | 5400 | 5400 | Provisional allocation | Initial training; recurring staffing budgeted separately
SEM | Commissioning | Initial method validation/calibration allowance | 1 | 3600 | 3600 | Provisional allocation | Deduct service included with instrument
TEM | Equipment | Conventional TEM with native controls | 1 | 520000 | 520000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Equipment | Digital TEM camera allowance | 1 | 70000 | 70000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Equipment | Thin-specimen preparation allowance | 1 | 30000 | 30000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Equipment | Holders and reference specimens | 1 | 15000 | 15000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Equipment | Grids and preparation supplies | 1 | 5000 | 5000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Equipment | Vacuum/chiller accessories allowance | 1 | 10000 | 10000 | Provisional allocation | Confirm configuration and obtain supplier quotation
TEM | Computing | Host workstation CPU/RAM/SSD | 1 | 4800 | 4800 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
TEM | Computing | GPU allowance | 1 | 1600 | 1600 | Provisional allocation | For image/AI analysis; not required for browser control; check if bundled
TEM | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1600 | 1600 | Provisional allocation | Native acquisition electronics are budgeted with instrument
TEM | Software | Acquisition/control licence allocation | 1 | 10800 | 10800 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
TEM | Software | Analysis/SDK/support allocation | 1 | 7200 | 7200 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
TEM | Integration | Station gateway computer/interface | 1 | 900 | 900 | Provisional allocation | Separate from shared server; may be consolidated after design
TEM | Integration | Demonstration camera and mounting | 1 | 700 | 700 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
TEM | Integration | Driver/API development (engineering hours) | 468 | 50 | 23400 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
TEM | Integration | Station testing and recovery validation | 1 | 10000 | 10000 | Provisional allocation | Station-specific tests; shared platform budget is separate
TEM | Commissioning | Installation and acceptance allowance | 1 | 20000 | 20000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
TEM | Commissioning | Operator training allowance | 1 | 12000 | 12000 | Provisional allocation | Initial training; recurring staffing budgeted separately
TEM | Commissioning | Initial method validation/calibration allowance | 1 | 8000 | 8000 | Provisional allocation | Deduct service included with instrument
Sensors-DAQ | Equipment | Multi-channel DAQ development kit | 1 | 3000 | 3000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Wireless gateway/receivers | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Motion detectors | 2 | 300 | 600 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Force sensors | 2 | 250 | 500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Temperature probes | 4 | 100 | 400 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Voltage/current/light sensor assortment | 1 | 1200 | 1200 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Calibration references | 1 | 1000 | 1000 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Isolated I/O and protection | 1 | 1500 | 1500 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Equipment | Cables and connectors | 1 | 800 | 800 | Provisional allocation | Confirm configuration and obtain supplier quotation
Sensors-DAQ | Computing | Host workstation CPU/RAM/SSD | 1 | 1800 | 1800 | Provisional allocation | Vendor OS and hardware approval; deduct if bundled
Sensors-DAQ | Computing | Monitor, keyboard, NIC and interface accessories | 1 | 1200 | 1200 | Provisional allocation | Native acquisition electronics are budgeted with instrument
Sensors-DAQ | Software | Acquisition/control licence allocation | 1 | 1200 | 1200 | Provisional allocation | Deduct if bundled; confirm remote-use and automation rights
Sensors-DAQ | Software | Analysis/SDK/support allocation | 1 | 800 | 800 | Provisional allocation | Python/Fiji may be free; payment allowance is for required commercial licences/support
Sensors-DAQ | Integration | Station gateway computer/interface | 1 | 800 | 800 | Provisional allocation | Separate from shared server; may be consolidated after design
Sensors-DAQ | Integration | Demonstration camera and mounting | 1 | 600 | 600 | Provisional allocation | SEM/TEM images use native cameras; this camera shows setup
Sensors-DAQ | Integration | Driver/API development (engineering hours) | 36 | 50 | 1800 | Provisional allocation | Assumed engineering rate USD 50/hour; requires vendor-supported interface
Sensors-DAQ | Integration | Station testing and recovery validation | 1 | 800 | 800 | Provisional allocation | Station-specific tests; shared platform budget is separate
Sensors-DAQ | Commissioning | Installation and acceptance allowance | 1 | 1000 | 1000 | Provisional allocation | Confirm vendor scope, travel and calibration inclusions
Sensors-DAQ | Commissioning | Operator training allowance | 1 | 600 | 600 | Provisional allocation | Initial training; recurring staffing budgeted separately
Sensors-DAQ | Commissioning | Initial method validation/calibration allowance | 1 | 400 | 400 | Provisional allocation | Deduct service included with instrument

## Shared and operations
Shared capital and first-year operating costs (USD)
Type | Item / service | Quantity | Unit cost USD | Extended cost USD | Review note | Reviewer comments
Shared capital | Portal development (hours) | 300 | 50 | 15000 | Shared booking, identity and access roles
Shared capital | Secure server/gateway configuration (hours) | 100 | 50 | 5000 | Shared services; not station device adapters
Shared capital | Platform testing/documentation (hours) | 100 | 50 | 5000 | Shared tests only
Shared capital | Managed network switch | 1 | 1500 | 1500 | Confirm port count
Shared capital | Firewall and security appliance | 1 | 1500 | 1500 | Verify subscriptions
Shared capital | Network installation/cabling | 1 | 2500 | 2500 | Site survey required
Shared capital | Backup connectivity hardware/setup | 1 | 2500 | 2500 | Recurring service in operations
Shared capital | Storage and backup server | 1 | 6500 | 6500 | Size against image volumes
Shared capital | Backup storage/media | 1 | 3500 | 3500 | Recovery test required
Shared capital | Shared analysis server CPU/RAM/SSD | 1 | 6000 | 6000 | Separate from local workstations
Shared capital | Shared GPU | 1 | 4500 | 4500 | Confirm workload and VRAM
Shared capital | Server accessories/networking | 1 | 1500 | 1500 | Avoid duplicate network items
Shared capital | Controller UPS units | 13 | 700 | 9100 | Controller-only loads; instrument power separately assessed
Shared capital | Surge protection and power management | 1 | 5900 | 5900 | Electrical design required
Shared capital | Electrical/earthing upgrades allowance | 1 | 20000 | 20000 | Site-dependent
Shared capital | Cooling/ventilation allowance | 1 | 25000 | 25000 | Site-dependent
Shared capital | Isolation/room preparation allowance | 1 | 15000 | 15000 | Exclude instrument isolation already budgeted
Shared capital | Benchwork and utility connections | 1 | 15000 | 15000 | No new building construction
Year-one operations | Technical coordinator | 12 | 2000 | 24000 | Illustrative monthly compensation; Kenyan payroll quote required
Year-one operations | Laboratory technicians | 24 | 1500 | 36000 | Two staff × 12 months; staffing sufficiency to be assessed
Year-one operations | Administrative/access coordination | 12 | 500 | 6000 | Part-time allowance
Year-one operations | Employer costs/training allowance | 1 | 4000 | 4000 | Confirm benefits/statutory costs
Year-one operations | SEM service provision | 1 | 20000 | 20000 | Deduct warranty-covered year-one service
Year-one operations | TEM service provision | 1 | 35000 | 35000 | Deduct warranty-covered year-one service
Year-one operations | AFM/STM service provision | 1 | 10000 | 10000 | Obtain local service quote
Year-one operations | Other calibration/service | 1 | 10000 | 10000 | Confirm service coverage
Year-one operations | Chemistry consumables | 1 | 8000 | 8000 | Exclude initial starter supplies
Year-one operations | Biology consumables | 1 | 7000 | 7000 | Exclude initial starter supplies
Year-one operations | Microscopy consumables | 1 | 8000 | 8000 | Exclude initial starter supplies
Year-one operations | Physics consumables | 1 | 2000 | 2000 | Replacement stock
Year-one operations | Internet services | 12 | 700 | 8400 | Primary and backup allowance
Year-one operations | Hosting/data services | 12 | 300 | 3600 | Storage/egress quote required
Year-one operations | Electricity/water/cooling | 12 | 1500 | 18000 | Measure instrument loads
Year-one operations | Recurring licences/support | 1 | 10000 | 10000 | Only renewals outside initial licence period

## Review assumptions
Assumptions and items requiring scrutiny
Topic | Basis / review action
Cost status | All numeric rates are provisional planning allocations. No supplier quotations have been obtained.
Reconciliation | Itemization reconciles to the earlier station allowances; reconciliation is not validation of market prices.
Scope | One station per named row. Shared instruments are purchased once across subject areas.
UV-Vis sharing | Purchased under UV-Vis; optical and biological stations use it. Optical budget covers bench accessories.
FTIR/Raman sharing | One FTIR and one Raman system; cross-listed subject pages do not add another purchase.
DAQ boundary | Native acquisition controllers are inside instrument prices; separate DAQs are for external sensors.
SEM/TEM configuration | Conventional configurations; no premium aberration-corrected TEM or cryo/UHV platform assumed.
GPU boundary | Local GPU allowances are optional and separate from a shared analysis server; reduce after workflow design.
Vendor bundles | Deduct supplied computers, cameras, controllers, licences, calibration and training before approving orders.
Client equipment | Client users supply existing laptops and internet; no dedicated client-computer purchase included.
Client loan scheme | If institution-owned access laptops are required, quantity and unit cost are TBD; separate budget required.
Connectivity | Bandwidth and hosting allowances must be checked against actual streams, users and data volumes.
Freight and insurance | TBD and excluded. Obtain destination-specific packing, freight and insurance quotations.
Import charges | TBD and excluded. Confirm applicable duties, taxes, clearance and any exemptions; no exemption assumed.
Vendor travel | Confirm in commissioning quotations; travel beyond allowances remains unpriced.
Facility works | USD 75,000 provisional envelope only; major construction, specialist containment and excess utilities excluded.
Biology safety | Assumes prepared specimens and approved low-risk assays; specialized biosafety facilities are not priced.
Staffing | Illustrative rates and staffing quantities; not verified Kenyan salaries or confirmed JOOUST contributions.
Warranty | Avoid double-counting service covered by instrument warranty in first-year operating provision.
Contingency | 15% of priced capital only; does not mean unpriced freight/tax/site scope is covered.
Donation accounting | Record fair-value contributions separately from cash needs; do not treat pledged donations as confirmed.
Approval steps | Select models; obtain at least comparable quotations; confirm site readiness, remote interface and lifecycle support.
Website status | This is a separate scrutiny workbook. No website files or deployment ZIP were updated for this request.
Reviewer use | Edit blue quantity/unit-cost cells. Put findings in Reviewer comments. Replace provisional rates with quotations.